Table of Contents

1	254 Engineering, letter templates for review	3

EVERY TEMPLATE IN THIS PACKAGE IS A DRAFT	3

1.1	What these are	3

1.2	The eight, and what each needs from you	3

1.3	Three things to know before the detail	4

1.4	What could not be filled from the repository	5

2	Template 1 of 8: Roof certification letter	6

DRAFT FOR ENGINEER REVIEW	6

2.1	Letterhead	6

2.2	Fixed facts, filled from the file	6

2.3	Body	7

2.4	What Aman needs to decide on this line	9

3	Template 2 of 8: WPI-8E completed construction: form completion guide	9

DRAFT FOR ENGINEER REVIEW	9

3.1	THIS LINE HAS NO LETTER, AND THAT IS THE POINT OF THIS DOCUMENT	9

3.2	Route: 5.4604(a)(2) only	10

3.3	Field map: 5.4604(b), the nineteen items	10

3.4	Supporting evidence, per 5.4606	12

3.5	Submission and retention	13

3.6	What Aman needs to decide on this line	14

4	Template 3 of 8: WPI-8 ongoing construction: form completion guide	14

DRAFT FOR ENGINEER REVIEW	14

4.1	THE FIRM CAN NOW PERFORM THIS WORK	15

4.2	AND THE SOURCE FOR IT IS NOT HELD	15

4.3	What can be said now, from the completed-construction work	16

4.4	What the platform must do in the meantime	17

4.5	What Aman needs to decide on this line	17

5	Template 4 of 8: Foundation certification letter	17

DRAFT FOR ENGINEER REVIEW	17

5.1	Letterhead	17

5.2	Fixed facts, filled from the file	17

5.3	Body	18

5.4	What Aman needs to decide on this line	20

6	Template 5 of 8: Manufactured home foundation certification letter	21

DRAFT FOR ENGINEER REVIEW	21

6.1	THIS LETTER IS WRITTEN FOR A THIRD PARTY'S REQUIREMENT	21

6.2	Letterhead	21

6.3	Fixed facts, filled from the file	21

6.4	Body	21

6.5	What Aman needs to decide on this line	23

7	Template 6 of 8: Solar structural letter	23

DRAFT FOR ENGINEER REVIEW	23

7.1	THE LETTER IS DECIDED BY CALCULATION, NOT BY THE EVIDENCE	24

7.2	Letterhead	24

7.3	Fixed facts, filled from the file	24

7.4	Body	24

7.5	What Aman needs to decide on this line	26

8	Template 7 of 8: Structural letter for permit	26

DRAFT FOR ENGINEER REVIEW	26

8.1	THE REQUIREMENT IS QUOTED, NOT PARAPHRASED	27

8.2	Letterhead	27

8.3	Fixed facts, filled from the file	27

8.4	Body	27

8.5	What Aman needs to decide on this line	29

9	Template 8 of 8: Repair specification	29

DRAFT FOR ENGINEER REVIEW	29

9.1	THIS MAY ALREADY HALF EXIST	29

9.2	Letterhead	30

9.3	Fixed facts, filled from the file	30

9.4	Body	30

9.5	What Aman needs to decide on this line	32

# 1	254 Engineering, letter templates for review

Prepared 2026-09-28 for Aman Dhakal, P.E., Engineer of Record.

Reviewed 2026-10-05. My changes and answers are highlighted in yellow.

## EVERY TEMPLATE IN THIS PACKAGE IS A DRAFT

None is approved. None is in use. No letter is issued on any of these until you have approved its wording. Every page is marked accordingly.

## 1.1	What these are

One document per service line the firm offers a standard deliverable on. The three quoted lines, beam and header, carport and patio, and custom package, are not here: they are custom engagements with no standard letter. Design is not here for the same reason.

No template states an engineering conclusion. Where a determination belongs, there is a bracketed instruction and a set of options for you to choose or rewrite. The platform fills the facts and you supply the judgment, and nothing in these documents blurs that line.

Every letterhead is derived, not typed. The registrant line reads "254 Engineering LLC, TBPELS Firm F-29811" from the board's own record through registrationLine(). When TBPELS reissued F-29811 on 2026-09-21 the registrant changed and every rendered sentence moved with it, because none of them held a copy. A template that hard-coded it would reintroduce exactly that.

Every seal block marks where your seal, signature and date go on the document you produce. The platform composes no sealed document and holds no seal image.

## 1.2	The eight, and what each needs from you

| # | Line | What you need to decide |
| --- | --- | --- |
| 1 | Roof certification | The determination wording, and whether remaining service life is addressed at all |
| 2 | WPI-8E completed construction | Which certification scopes the firm offers, and how the five engineering items on TDI's form are determined |
| 3 | WPI-8 ongoing construction | I have the TDI appointment now. Protocol is 254-WP-001. |
| 4 | Foundation certification | Sign 254-FC-001 v1.0. No letter issues on this line until it is signed and approved in the platform |
| 5 | Manufactured home foundation | Which published requirement the certification is written against. Nothing else can be settled first [ENGINEER: The HUD Permanent Foundations Guide for Manufactured Housing, HUD-7584.] |
| 6 | Solar structural letter | The void-if-the-array-changes wording, and who receives a strengthening schedule |
| 7 | Structural letter for permit | Whether a site visit is required, and how a no-visit letter says so |
| 8 | Repair specification | Whether it is the same document as the roof repair list, and whether it claims an outcome |

## 1.3	Three things to know before the detail

1. Two of the eight are not letters. Both WPI-8E documents are form completion guides. The deliverable is TDI's own form under 28 TAC 5.4604(c), and recreating it would produce a submission TDI refuses after the customer has paid. What this firm produces alongside it is a sealed postconstruction evaluation report, and its content is yours.

2. The firm cannot perform ongoing windstorm construction today. TDI states that a TBPELS-licensed engineer "Can only inspect completed construction", and the firm's register records no windstorm inspector appointment. Template 3 is written for the state after an appointment exists, and says so on its first page.

[ENGINEER: I have the TDI appointment now. Ongoing construction runs under 254-WP-001.]

3. Only one line has an APPROVED protocol. Roof certification cites 254-RC-001 v1.1. Foundation now cites 
      254-FC-001 v1.0, which you wrote and which is pending signature, and its limitations are taken from your section 11 rather than drafted. No letter issues on that line until it is signed, because citing an unsigned protocol as the standard a letter was performed to claims an authority nobody has given. The remaining templates cite a protocol number the file cannot supply at all, which is why those lines are a waitlist.

[ENGINEER: Every remaining line now has a protocol: 254-WS-001, 254-WP-001, 254-MH-001, 254-SL-001, 254-PL-001, 254-RS-001 and 254-DS-001, each v1.1, dated 2026-10-06, pending signature.]

## 1.4	What could not be filled from the repository

Listed so nothing reads as an oversight. Each is a field a template needs and the platform does not hold.

| Template | Missing |
| --- | --- |
| All | Recipient name and address as a structured field |
| Roof | Nothing beyond the above |
| WPI-8E completed | ZIP code; title transfer; substantial completion; wind zone; Coastal Barrier unit; construction start date; structure type and units; scope of inspection; code and wind load standard; wind speed; importance factor; exposure category; windborne debris protection; Application ID |
| WPI-8 ongoing | Everything. Six TAC sections are unread |
| Foundation | Foundation type and method, both required on the letter by 254-FC-001 section 11; recipient and purpose as structured fields |
| Manufactured home | The named requirement; HUD label or data plate; section count; support system type |
| Solar | The array specification in full; authority and code edition; measured framing values |
| Permit letter | Permit number; authority; the requirement verbatim; the element; whether a visit occurred |
| Repair specification | Originating file; who it is for; their requirement verbatim |

# 2	Template 1 of 8: Roof certification letter

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use. No letter is issued on this template until Aman Dhakal, P.E. has approved its wording.

Service line: roof-inspections Governing protocol: 254-RC-001 v1.1, approved 2026-09-22 Status: the only line with an approved protocol

## 2.1	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

The second line is derived, never typed. registrationLine() reads the registrant off the board's own record. A template that hard-codes it would put the firm's registration number beside whatever name was current when somebody typed it, and the reissuance of 2026-09-21 is the reason that matters: the registrant changed and every rendered sentence moved with it because none of them held a copy.

Brand on its own line above the registrant. That ordering is the operator's 2026-09-11 ruling and is not cosmetic: it asserts only what the board's record says.

## 2.2	Fixed facts, filled from the file

| Field | Source |
| --- | --- |
| File number | eng_files.file_number |
| Property address | eng_files.property_address |
| City | eng_files.city |
| County | eng_files.county |
| Service | eng_files.service_slug, rendered as the catalogue title |
| Date of visit | earliest eng_evidence_items.captured_at on the file |
| Protocol | eng_protocol_templates.document_number and the document version |
| Evidence count | count of eng_evidence_items on the file |
| Engineer | the engineer recorded on the determination |
| Date of determination | eng_determinations.created_at |

None of these is typed by anybody. Every one is read from the file, so a letter cannot state a county the file does not hold.

## 2.3	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{recipient_name}} {{recipient_address}}

Re: Roof certification, {{property_address}}, {{county}} County, Texas File {{file_number}}

{{recipient_salutation}},

At your request, this firm inspected the roof of the property at {{property_address}} in {{county}} County, Texas, on {{visit_date}}.

The inspection was performed to protocol {{protocol_number}} version {{protocol_version}}, a written protocol approved by the engineer of record of this firm. {{evidence_count}} items of evidence were recorded against that protocol and are retained in file {{file_number}}.

[ENGINEER: state determination.] Options below for you to choose or rewrite. The platform will not write this sentence.

[ENGINEER: Use option A, B or C as edited below. The platform fills the one that matches the determination I record.]

[ENGINEER: option A, passing] Based on the evidence recorded, no active leak and no damage or deterioration requiring repair was observed on the roof covering as of the date of the visit.

[ENGINEER: option B, repairs required] Based on the evidence recorded, certification is withheld pending completion of the repairs listed in the attached schedule. Each item requires verification before this firm will certify the roof.

[ENGINEER: option C, declined] Based on the evidence recorded, this firm declines to certify the roof. The reason is stated in the attached record.

[ENGINEER: No option D. One of the options above is used.]

[ENGINEER: The platform records pass, repairs required or decline. The letter uses the fixed sentence above for that determination. Nobody retypes it, so the two stay the same.] They are currently two different things and they should not be allowed to drift.

### 2.3.1	Scope and limitations

Starting draft. Bracketed items need your call.

This letter addresses the conditions documented on the date of the visit stated above. It is not a warranty or a guarantee of any kind.

This letter makes no prediction of remaining service life. [ENGINEER: Confirmed. I will not state remaining service life in any letter.]

The inspection was visual and non-destructive. On an asphalt shingle roof a designated representative from the firm checks the shingle seal by hand at four locations
      . No covering is removed and nothing is tested.

Items the protocol required that were not observed, and the reason recorded for each: {{items_not_observed}}. [ENGINEER: List them in the letter.]

The recipient decides how to use this letter. This firm gives no opinion on its sufficiency for any particular purpose, including insurance, lending or permit. [ENGINEER: Confirmed for now. ]

This letter addresses the roof covering and the elements listed in the protocol. It does not address the structure as a whole, the foundation, or any element outside the scope of {{protocol_number}}.

### 2.3.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

A SEALED DOCUMENT IS UPLOADED, NEVER GENERATED, under standing law until the sealed-letter workstream supersedes it. This block marks where his seal, signature and date go on the document he produces. The platform does not compose one and there is no seal image in this repository.

## 2.4	What Aman needs to decide on this line

- The determination wording, and whether the letter echoes the platform's recorded determination or restates it. [ENGINEER: Fixed sentence for each determination, see above.]

- Whether remaining service life is addressed at all, given the history. [ENGINEER: Not addressed.]

- Whether protocol exceptions appear in the letter or only in the file. [ENGINEER: In the letter.]

- Whether the recipient-decides sentence stands as drafted. [ENGINEER: Stands for now.]

# 3	Template 2 of 8: WPI-8E completed construction: form completion guide

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: windstorm-wpi-8, completed construction Governing authority: 28 TAC 5.4604 and 5.4606 Source held: docs/compliance/TDI-adopted-28TAC-5.4603-5.4642-order-2020-6486.pdf

Governing protocol: 254-WS-001 v1.1, dated 2026-10-06, pending signature.

## 3.1	THIS LINE HAS NO LETTER, AND THAT IS THE POINT OF THIS DOCUMENT

The deliverable is TDI's own form, not a letter from this firm. 28 TAC 5.4604(c): TDI "will make available the Certification Form for Completed Improvement, Form WPI-2E on which the information in subsections (a) and (b) of this section may be provided."

TDI's form is not recreated here and must not be. A form this firm typed that looked like WPI-2E would be refused, and the refusal would arrive after the customer had paid. This document maps what the file holds to what the form asks for, and lists the supporting evidence the Code requires alongside it.

What this firm does produce is a sealed postconstruction evaluation report, under 5.4604(a)(2), which accompanies the form. That report is engineering work and its content is Aman's.

## 3.2	Route: 5.4604(a)(2) only

5.4604(a) offers two routes. (a)(1) requires that the engineer designed the improvement, which makes it a different engagement and is not this line.

5.4604(a)(2) a sealed postconstruction evaluation report completed and submitted by a professional engineer licensed by the Texas Board of Professional Engineer and Land Surveyors that: (A) confirms the improvement's compliance with the applicable building code under the plan of operation; and (B) includes supporting evidence such as that identified in 5.4606 of this title for the engineer's postconstruction evaluation report.

[ENGINEER: (a)(2) only. We do not design the improvement.]

## 3.3	Field map: 5.4604(b), the nineteen items

Four columns: what the Code asks, where it comes from, who supplies it, and whether the platform holds it today.

| 5.4604(b) | Item | Source | Held today |
| --- | --- | --- | --- |
| (1) | Physical address: street, number, city, county, ZIP | eng_files.property_address, .city, .county | partly: no ZIP field |
| (2) | Whether original transfer of title from builder to initial owner has occurred or is expected | Client, at intake | no |
| (3) | Whether the improvement is substantially completed | Client, at intake | no |
| (4) | Wind zone location | [ENGINEER: Lookup. I confirm it at review.] | no |
| (5) | Whether the structure is in a Coastal Barrier Resource System Unit | [ENGINEER: Lookup. I confirm it at review.] | no |
| (6) | Property owner name and contact, or builder or contractor | eng_clients | partly |
| (7) | Name and contact of the engineer certifying | The register | yes |
| (8) | Date construction of the completed improvement began | Client, at intake | no |
| (9) | Date of application for the certificate | The submission act | no |
| (10) | Name of the person submitting the application | The submitting operator | no |
| (11) | Type of structure, including name or number and number of units | Client, at intake | no |
| (12) | Subject of the inspection, for example entire structure, addition, alteration, repair | the scope field this platform does not have | no |
| (13) | Building code standard and applicable wind load standard | [ENGINEER] | no |
| (14) | Wind-speed conditions the improvement is designed to withstand | [ENGINEER] | no |
| (15) | Importance factor or risk category | [ENGINEER] | no |
| (16) | Exposure category | [ENGINEER] | no |
| (17) | Information on protection of exterior openings from windborne debris | Field evidence plus [ENGINEER] | no |
| (18) | Dates the completed improvement was inspected | eng_evidence_items.captured_at | yes |
| (19) | Signature and TBPELS registration number of the certifying engineer | His own act | n/a |

Items (13) through (17) are engineering determinations and must never be asked of a customer at intake. A client cannot tell you the exposure category, and a field that invites them to guess puts a wrong answer on a state submission.

Item (12) is the scope, and it governs 5.4606 as well. The platform has no field for it.

## 3.4	Supporting evidence, per 5.4606

The Code organises this by "the part of the structure being certified", so the scope decided at (12) selects which list applies.

### 3.4.1	If the scope is a roof covering certification, 5.4606(b)(1)

  - evidence identifying all products and components in scope: roof covering, fasteners, underlayment, roof deck, roof vents, skylights, and all other parts of the roof-covering assembly

- (B) manufacturer's installation instructions, product evaluation reports or test laboratory reports, and code-required installation requirements for all components in scope

- (C) evidence that the components of the installed building products meet or exceed the code-required design pressures

- (D) evidence verifying that the roof covering, roof vents and skylights are installed according to the manufacturer installation instructions, product test reports and the applicable windstorm building code

- (E) applicable information listed in 5.4626

### 3.4.2	If the scope is building product certifications, 5.4606(b)(2)

  - evidence identifying all products in scope: windows, side-hinged doors, sliding doors, overhead doors, exterior wall coverings and other applicable products

- (B) installation instructions, product evaluation, reports or test laboratory reports, product certifications, and code-required installation requirements

- (C) evidence that design-pressure ratings meet or exceed the required design pressures

- (D) evidence that products required to be certified were certified by a certification agency, are properly labeled, and have valid certifications

- (E) evidence recording all information on certification labels, that test pressure exceeds code-required design pressure, and that products are within the maximum size tested and installed exactly as tested

- (F) evidence specifying the minimum design pressures required

- (G) applicable information listed in 5.4626

- (H) where windborne debris protection is required, evidence that the product is impact-resistant or protected, and installed per instructions and test reports

### 3.4.3	If the scope is an entire building or an addition, 5.4606(b)(3)

  - evidence verifying complete load path, including connections between roof, walls, floor and foundation

- (B) roof coverings per (b)(1)

- (C) building products per (b)(2)

- (D) building plans showing lateral resisting elements, wall framing, roof framing, floor framing and other pertinent elements in scope

- (E) evidence verifying the foundation system, showing anchors, ties or straps, pile locations or other pertinent structural elements

- (F) for additions, whether attached or detached; if attached, the load on the existing structure, the load imposed by the addition, and whether the existing structure and connection satisfy the combined loading, plus load path from addition to existing structure

- (G) applicable information listed in 5.4626

[SOURCE NEEDED: 28 TAC 5.4626, Substantiating Information.] Cited at (b)(1)(E), (b)(2)(G) and (b)(3)(G) and not held. It is the next document to obtain.

[SOURCE NEEDED: the applicable windstorm building code under the plan of operation.] Every verification obligation above is measured against it and it is named in none of these sections.

[ENGINEER: It depends on when construction began. The 2024 IRC and IBC with ASCE 7-22 apply from April 1, 2026. I name the code on each job.]

## 3.5	Submission and retention

TDI page captured 2026-09-23: "The structure's address and Application ID must be included on each document when emailed to Windstorm@tdi.texas.gov." "Applications will be processed after these documents are received."

The Application ID does not exist until TDI issues it after the WPI-2E is submitted, so a job has a period with no ID and every document must carry it once there is one. The platform has no field for it.

5.4606(c) Failure to provide the documents requested by TDI could result in a denial of a Certificate of Compliance for Completed Improvement (Engineered), Form WPI-8E, or other action taken by TDI as stated in 5.4640 or 5.4642.

5.4606(d) For each component inspected, including roof, window, door, garage door, or exterior cladding, the engineer listed on the certificate of compliance must retain the supporting evidence and applicable information described in this section for that component for five years from the date of the most recent certification application submitted on the structure.

(d) is a personal duty on Aman, not on the firm, on evidence this platform holds for him. The retention policy has no rule that attaches to a person.

## 3.6	What Aman needs to decide on this line

- Which certification scopes the firm offers, since (b)(1), (b)(2) and (b)(3) are three different jobs. [ENGINEER: All three. Entire building or addition we accept job by job.]

- Items (13) to (17): how each is determined and recorded. [ENGINEER: I determine these at review and record them on the file. Wind speed comes from the ASCE 7 Hazard Tool.]

- The content of the sealed postconstruction evaluation report, which is his work and is not drafted here. [ENGINEER: Where the owner does not make repairs, I seal a report stating non-compliance, for the customer. It is not submitted to TDI as a certification. Concealed work is opened by the owner's contractor at locations I set and photographed by the technician.]

- How the five year retention duty is satisfied and evidenced. [ENGINEER: The firm keeps the file ten years, and I keep access to the supporting evidence if I leave the firm.]

# 4	Template 3 of 8: WPI-8 ongoing construction: form completion guide

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: windstorm-wpi-8, ongoing construction

## 4.1	THE FIRM CAN NOW PERFORM THIS WORK

Stated first because everything below is conditional on it.

[ENGINEER: I have the TDI appointment now, so the paragraphs below no longer apply. Protocol is 254-WP-001 v1.1, dated 2026-10-06, pending signature. Please update the register.]

TDI's completed construction certificates page, captured 2026-09-23 and held at docs/compliance/TDI-completed-construction-certificates-09-23-2026.html, states that a professional engineer licensed by TBPELS:

"Can only inspect completed construction."

and that an Appointed Qualified Inspector:

"Can inspect completed and ongoing inspection."

No engineer at this firm holds a TDI windstorm inspector appointment. The firm's own register records WINDSTORM_APPOINTMENT_CREDENTIAL as held: false, and the public windstorm pages already disclose the absence.

So this guide is written for the state after an appointment is obtained, and it is not a description of work the firm may accept now. A job of this kind arriving today is refused at intake, and the platform should enforce that rather than rely on somebody noticing.

## 4.2	AND THE SOURCE FOR IT IS NOT HELD

The adopted-rules order this firm holds covers 5.4603, 5.4604, 5.4606, 5.4609, 5.4640 and 5.4642. Ongoing construction is governed elsewhere in Division 7, and none of those sections is in the document.

From the Division 7 listing, the sections that appear to govern are:

| Section | Title |
| --- | --- |
| 5.4621 | Certification of Ongoing Improvements Inspected by Appointed Qualified Inspectors |
| 5.4622 | Inspection Verification |
| 5.4623 | Information Required to Inspect to Design Documents |
| 5.4625 | Inspection Reports |
| 5.4626 | Substantiating Information |
| 5.4615 | General Responsibilities of Appointed Qualified Inspectors |

[SOURCE NEEDED: all six.] This guide cannot have a field map until they are in hand. The completed construction guide has one because 5.4604 and 5.4606 are quoted from a document this firm holds. Writing an ongoing field map from the titles above would be inventing a state agency's requirements, which is the failure the whole exercise exists to avoid.

[ENGINEER: From the TDI orientation I attended on 2026-09-23: 5.4621 permits the appointed inspector's designated representative to assist in inspections under close monitoring and direct supervision. 5.4623 requires the appointed inspector to review the design documents. 5.4625 permits the designated representative to prepare and sign the inspection report. The required phases are foundation, rough framing, final framing and installation of mechanical equipment. A WPI-1 must be on file before any inspection. We still need the section text itself.]

The titles above are read from an index and are not themselves a primary source. They are offered so somebody knows what to obtain, not as a statement of what those sections require.

## 4.3	What can be said now, from the completed-construction work

These carry across and are likely to hold. Each is marked as an expectation rather than a requirement, because the sections have not been read.

- The form is TDI's, not this firm's, and must not be recreated.

- The Application ID pattern is likely to apply: TDI issues it after the application is submitted, so documents carry it only once it exists.

- A retention duty is likely to attach to the engineer named on the certification rather than to the firm, as 5.4606(d) does for completed work.

- The inspection is performed at stages during construction rather than once at the end, which is the substantive difference from completed work and is why the appointment exists.

[ENGINEER: I have the appointment.] If it is not, this line should be withdrawn from the catalogue rather than left as a service the site describes and the firm cannot perform. If it is, the six sections above are the reading list and this guide is written after them.

## 4.4	What the platform must do in the meantime

- Refuse an ongoing construction windstorm job at intake while no appointment is held, rather than accepting one and discovering the problem at dispatch.

- Distinguish the two at intake at all. Today windstorm-wpi-8 is one service slug covering both, and only one of them is performable.

## 4.5	What Aman needs to decide on this line

- Whether the appointment is being sought, which decides whether this line exists. [ENGINEER: I have it.]

- Nothing else can usefully be decided until the six sections are read.

# 5	Template 4 of 8: Foundation certification letter

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: foundation-inspections Governing protocol: 
      254-FC-001 v1.0, written by the engineer of record and PENDING SIGNATURE.

THE PROTOCOL IS NOT YET SIGNED, AND THAT GOVERNS THIS TEMPLATE. A letter may not cite a protocol as the standard it was performed to while that protocol is unsigned, because the citation would claim an authority nobody has given. No letter issues on this line until 254-FC-001 is signed and approved in the platform.

The limitations below are taken from its section 11 and are reproduced here so the letter and the protocol say the same thing. If section 11 changes before signature, this template changes with it, and the platform should be the thing that notices rather than a person.

## 5.1	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

Derived by registrationLine(), never typed.

## 5.2	Fixed facts, filled from the file

| Field | Source | Held |
| --- | --- | --- |
| File number | eng_files.file_number | yes |
| Property address | eng_files.property_address | yes |
| County | eng_files.county | yes |
| Date of inspection | earliest eng_evidence_items.captured_at | yes |
| Foundation type | no field today. 254-FC-001 requires it on the letter | no |
| Method | no field today. See below | no |
| Protocol number and version | the protocol template on the file | yes, once 254-FC-001 is loaded |
| Evidence count | count of eng_evidence_items | yes |
| Recipient and purpose, verbatim | intake | no structured field |

Two of these are required by section 11 and the platform does not hold either. Foundation type and method are stated on the letter, so they must be recorded on the file rather than typed by whoever drafts it.

[ENGINEER: Two values. "Visual inspection with relative elevation survey." For pier and beam, "Visual inspection with relative elevation survey and crawlspace inspection."] If the letter states the method, the set of methods has to be closed, or two letters will describe the same inspection in different words.

## 5.3	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{recipient_name}} {{recipient_address}}

Re: Foundation inspection, {{property_address}}, {{county}} County, Texas File {{file_number}}

{{recipient_salutation}},

This letter is addressed to {{recipient_name}} for the purpose recorded at intake: {{purpose_verbatim}}. It is issued for that recipient and that purpose only.

At the request of {{requestor_name}}, this firm inspected the foundation of the property at {{property_address}} in {{county}} County, Texas, on {{inspection_date}}.

Foundation type: {{foundation_type}} Method of inspection: {{method}}

The inspection was performed to protocol {{protocol_number}} version {{protocol_version}}. {{evidence_count}} items of evidence were recorded against that protocol and are retained in file {{file_number}}.

Observed condition:

[ENGINEER: state the observed condition.] The platform will not write this. It is the engineering finding the letter exists to carry.

[ENGINEER: state determination.] Options for you to choose or rewrite.

[ENGINEER: Use option A, B or C as edited below. The platform fills the one that matches the determination I record.]

[ENGINEER: option A] Based on the evidence recorded, the slope, the levelness between survey points and the crack widths measured were within the limits of the protocol, and no condition requiring repair was observed as of the date of inspection.

[ENGINEER: option B] Based on the evidence recorded, the conditions described above were observed and require repair. Certification is withheld until the repairs are made and verified. This letter does not specify the repair.

[ENGINEER: option C] Based on the evidence recorded, this firm declines to certify the foundation. The reason is stated above.

[ENGINEER: No option D. One of the options above is used.]

### 5.3.1	Scope and limitations

Taken from 254-FC-001 v1.0 section 11. Bracketed items still need your call.

This letter is addressed only to the recipient and for the purpose recorded at intake and stated above. No other party may rely on it without the written consent of this firm. [ENGINEER: It should refuse reliance by others, so I added the sentence.]

The inspection was visual and non-invasive.

This letter reflects the conditions observed on {{inspection_date}} only.

This firm makes no representation about concealed conditions or conditions below grade.

This letter contains no forecast of future movement.

This letter is not a warranty or a guarantee of any kind.

Items the protocol required that were not observed, and the reason recorded for each: {{items_not_observed}}.

[ENGINEER: On the three sentences below. I added the warranty sentence and the items not observed sentence above. Service life is left out, the no-forecast sentence already covers it. I will add the same two sentences to section 11 so the letter and the protocol match.]

- that the letter is not a warranty or guarantee of any kind

- that it makes no prediction of remaining service life

- that items the protocol required but which were not observed are listed in the file, with the reason recorded for each

I have not merged them in, because section 11 is your wording and adding to it would produce a limitations section that is neither yours nor the template's. The first two overlap with what section 11 already says and may be redundant; the third is a real gap if the protocol records exceptions.

### 5.3.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

Marks where your seal, signature and date go on the document you produce. The platform composes no sealed document, holds no seal image and holds no signature image, and will not. You upload your own through the portal.

## 5.4	What Aman needs to decide on this line

- Sign 254-FC-001 v1.0. No letter issues until it is signed and approved in the platform.

- The permitted values for method, so two letters cannot describe one inspection differently. [ENGINEER: Answered above.]

- Whether the addressed-only sentence refuses reliance by others or merely names the intended reader. [ENGINEER: It refuses reliance.]

- Whether the three sentences above, which are not in section 11, belong. [ENGINEER: Two of the three, see above.]

# 6	Template 5 of 8: Manufactured home foundation certification letter

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: manufactured-home-foundation-certifications Governing protocol: 254-MH-001 v1.1, dated 2026-10-06, pending signature.

## 6.1	THIS LETTER IS WRITTEN FOR A THIRD PARTY'S REQUIREMENT

The reader is ordinarily a lender, and what they will accept is set by a programme rather than by this firm. The engineer's opinion is the substance and the form is somebody else's, which makes this the only line in the catalogue where the deliverable's acceptability is decided outside the firm.

[ENGINEER: The HUD Permanent Foundations Guide for Manufactured Housing, HUD-7584, September 1996, as required by FHA Handbook 4000.1. The named requirement is that guide by default. Another requirement only where I approve it before dispatch.]

[ENGINEER: The HUD guide above by default. Another requirement only where I approve it.]

## 6.2	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

Derived by registrationLine(), never typed.

## 6.3	Fixed facts, filled from the file

The standard set, plus three this line needs and the platform does not hold:

| Field | Held |
| --- | --- |
| The named requirement being certified against | no |
| HUD label or data plate information | no |
| Single or multi section, and support system type | no |

## 6.4	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{recipient_name}} {{recipient_address}}

Re: Manufactured home foundation certification, {{property_address}}, {{county}} County, Texas File {{file_number}}

{{recipient_salutation}},

At your request, this firm inspected the foundation and support system of the manufactured home at {{property_address}} in {{county}} County, Texas, on {{visit_date}}.

The inspection was performed to protocol {{protocol_number}} version {{protocol_version}}. {{evidence_count}} items of evidence were recorded and are retained in file {{file_number}}.

[ENGINEER: state determination.] The wording here is the most constrained of any line, because a lender is relying on it to lend.

[ENGINEER: Use option A or B as edited below. The platform fills the one that matches the determination I record.]

[ENGINEER: option A] Based on the evidence recorded, I certify that in my opinion the foundation and support system of the home conform to {{named_requirement}} as of the date of the visit.

[ENGINEER: option B] Based on the evidence recorded, the foundation and support system did not conform to {{named_requirement}} in the respects described in the attached record.

[ENGINEER: No other wording. A lender expects the certification sentence as written.]

[ENGINEER: Yes. Repairs required, then verification on a return visit by the technician, then certification.] If so, that is the repair-list shape the platform already implements for roof work. If not, this line has fewer outcomes and the screens should not offer them.

### 6.4.1	Scope and limitations

Starting draft. Bracketed items need your call, and more than usual.

This letter addresses the conditions documented on the date of the visit stated above. It is not a warranty or a guarantee of any kind.

This letter addresses the foundation and support system. It addresses the anchorage and the connection of the home to the foundation. It does not address the home's own structure. These are the boundaries a reader will assume generously if the letter does not draw them.

This letter states conformance with {{named_requirement}} only. It states no opinion on any other standard, programme or requirement. [ENGINEER: Confirmed.]

The inspection was visual and non-destructive. Areas not accessible on the date of the visit are listed in file {{file_number}}.

This letter makes no prediction of remaining service life.

This certification is issued to the recipient named above. It may be re-sent to that recipient. It is not re-dated or re-addressed. [ENGINEER: Use this in place of the recipient-decides sentence on this line.]

### 6.4.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

## 6.5	What Aman needs to decide on this line

- Which published requirement the certification is written against. Nothing else can be settled first. [ENGINEER: The HUD Permanent Foundations Guide for Manufactured Housing, HUD-7584.]

- Whether anchorage and the home's own structure are in scope. [ENGINEER: Anchorage is in scope. The home's own structure is not.]

- Whether a conformance-after-work path exists. [ENGINEER: Yes.]

- Whether the recipient-decides sentence belongs on a letter a lender relies on. [ENGINEER: Replaced, see above.]

# 7	Template 6 of 8: Solar structural letter

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: solar-structural-letters Governing protocol: 254-SL-001 v1.1, dated 2026-10-06, pending signature.

## 7.1	THE LETTER IS DECIDED BY CALCULATION, NOT BY THE EVIDENCE

This changes what the letter can say and it is stated before the body. The technician's visit establishes what the existing structure IS: member size, spacing, span, condition, connection. The opinion is then reached by calculation against the proposed array and the governing code. No quantity of photographs settles it, and two roofs photographed identically can take different answers.

The consequence for the letter is one sentence that must not be left out: the opinion is void if the array changes. It is the difference between an opinion about a specific load case and an opinion somebody carries to a different installation.

## 7.2	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

Derived by registrationLine(), never typed.

## 7.3	Fixed facts, filled from the file

The standard set, plus the array, which is the load case and which the platform has nowhere to put:

| Field | Held |
| --- | --- |
| Module make and model, count, weight | no |
| Layout and attachment pattern, standoff | no |
| Authority having jurisdiction and code edition enforced | no |
| Framing type, member size, spacing, span as measured | no, though the evidence model could carry them |

The array specification is a client input and the letter cannot be written without it.

## 7.4	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{recipient_name}} {{recipient_address}}

Re: Structural review for proposed solar array, {{property_address}}, {{county}} County, Texas File {{file_number}}

{{recipient_salutation}},

At your request, this firm reviewed the existing roof framing of the structure at {{property_address}} in {{county}} County, Texas, for the purpose of the proposed solar array described below. 
      Site evidence was collected on {{visit_date}} and {{evidence_count}} items of evidence were recorded and are retained in file {{file_number}}.

[ENGINEER: I decide at intake whether a designated representative from the firm visits or we use the installer's site-survey photos. No names on the letter.]

The array reviewed: {{array_description}}

[ENGINEER: state determination.]

[ENGINEER: Use option A or C as edited below. The platform fills the one that matches the determination I record.]

[ENGINEER: option A] Based on the evidence recorded and the array described above, the existing framing is adequate to carry the proposed array.

[ENGINEER: Option B removed. We do not issue a strengthening schedule on this line.]

[ENGINEER: option C] Based on the evidence recorded and the array described above, the existing framing is not adequate to carry the proposed array.

[ENGINEER: No option D. One of the options above is used.]

[ENGINEER: Nobody. Strengthening is a separate design engagement.]

### 7.4.1	Scope and limitations

Starting draft. Bracketed items need your call.

This letter addresses the conditions documented on the date of the visit stated above and the array described above. It is not a warranty or a guarantee of any kind.

This letter is void if the array changes. A change of module, count, layout, attachment pattern or standoff changes the load case, and this opinion does not carry to it. [ENGINEER: Confirmed.]

This letter addresses the existing structure's capacity to carry the proposed array. It does not address the array, its attachment design, its electrical work, its performance, or the weather-tightness of any penetration.
       It does not address wind uplift on the array or on the framing. [ENGINEER: Uplift not addressed.]

This letter does not address the condition of the roof covering. A roof certification is a separate service of this firm. [ENGINEER: Confirmed.]

The inspection was visual and non-destructive. Framing not visible on the date of the visit was not inspected, and what was not accessible is listed in file {{file_number}}.

The recipient decides how to use this letter. This firm gives no opinion on its sufficiency for any particular permit or programme.

### 7.4.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

## 7.5	What Aman needs to decide on this line

- The void-if-the-array-changes wording. [ENGINEER: Confirmed.]

- Whether uplift and the attachment penetrations are addressed. [ENGINEER: No.]

- Who receives a strengthening schedule, given the installer has no account. [ENGINEER: Nobody.]

- Whether the order is refused without the array design at intake. [ENGINEER: We accept the order. I will not issue a letter until we have the array design.]

# 8	Template 7 of 8: Structural letter for permit

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: structural-letters Governing protocol: 254-PL-001 v1.1, dated 2026-10-06, pending signature. I write the capture list for each job.

## 8.1	THE REQUIREMENT IS QUOTED, NOT PARAPHRASED

The single most important field on this letter is what the authority actually asked for, in their words. A letter written against this firm's paraphrase of a plan reviewer's requirement is a letter that gets rejected, and the paraphrasing happened inside the firm.

254-RC-001 v1.1 already makes purpose and recipient verbatim a rule the platform enforces. The same rule applies here with more force, because the reviewer will compare the letter against their own wording.

## 8.2	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

Derived by registrationLine(), never typed.

## 8.3	Fixed facts, filled from the file

| Field | Held |
| --- | --- |
| Standard set: file number, address, county, service, visit date, evidence count | yes |
| Permit number and the authority it is with | no |
| The authority's requirement, verbatim | no |
| The element the letter addresses | no |
| Whether a site visit occurred at all | implied by evidence, not recorded as a fact |

The last one matters. This is a line where a visit is sometimes unnecessary, and a letter must not imply an inspection that did not happen. The platform currently infers a visit from the presence of evidence, which is not the same statement.

## 8.4	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{authority_name}} {{authority_address}}

Re: {{element_described}}, {{property_address}}, {{county}} County, Texas Permit {{permit_number}} | File {{file_number}}

To {{authority_salutation}},

This letter is issued at the request of {{requestor_name}} in connection with permit {{permit_number}}.

The requirement this letter addresses, as stated by the authority:

{{authority_requirement_verbatim}}

[ENGINEER: I triage every job within one business day of the order, as a site job or a desk job. A desk job only where drawings and documents answer the request. Customer or contractor photos never replace a technician visit.] Choose one.

[ENGINEER: visit] The structure at {{property_address}} was inspected on {{visit_date}}, and {{evidence_count}} items of evidence were recorded and are retained in file {{file_number}}.

[ENGINEER: no visit] This opinion is based on the documents listed in the attached schedule. No site visit was made.

[ENGINEER: state determination.]

[ENGINEER: Use option A, B or C as edited below. The platform fills the one that matches the determination I record.]

[ENGINEER: option A] In my opinion, {{element_described}} satisfies the requirement stated above.

[ENGINEER: option B] In my opinion, {{element_described}} satisfies the requirement stated above subject to the conditions in the attached schedule.

[ENGINEER: option C] In my opinion, {{element_described}} does not satisfy the requirement stated above.

[ENGINEER: No option D. One of the options above is used.]

### 8.4.1	Scope and limitations

Starting draft. Bracketed items need your call.

This letter addresses {{element_described}} only. It does not address any other element, system or part of the structure.

No site visit was made. This opinion rests on the documents listed in the attached schedule. [ENGINEER: Desk jobs only.]

This letter addresses the requirement quoted above. It states no opinion on any other requirement of the authority, and no opinion on whether the permit will be granted.

It is not a warranty or a guarantee of any kind, and makes no prediction of remaining service life.

Where the opinion rests on documents supplied by others, those documents are listed in the attached schedule and this firm has not verified their accuracy. [ENGINEER: Confirmed.]

The recipient decides how to use this letter.

### 8.4.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

## 8.5	What Aman needs to decide on this line

- Whether a visit is required, and who decides before dispatch. [ENGINEER: I decide, at triage.]

- The no-visit limitation wording. [ENGINEER: See the limitations above.]

- The reliance-on-supplied-documents sentence. [ENGINEER: Confirmed.]

- Whether this line can have a protocol at all, given the element changes every job, or whether the checklist is composed per job by him. [ENGINEER: 254-PL-001. I write the capture list for each job.]

# 9	Template 8 of 8: Repair specification

## DRAFT FOR ENGINEER REVIEW

Not approved. Not in use.

Service line: repair-specifications Governing protocol: 254-RS-001 v1.1, dated 2026-10-06, pending signature.

## 9.1	THIS MAY ALREADY HALF EXIST

254-RC-001 v1.1 already produces a repair list: a repairs-required determination withholds certification and issues one, and the platform tracks each item until it is verified one by one.

[ENGINEER: No. It is a separate document under 254-RS-001. The roof repair list names what must be corrected before certification. A repair specification tells a contractor what work to do and to what standard.] If it is, this line is partly built and the two should share one shape. If it is a different and fuller document, the difference needs stating, because the platform will otherwise grow two things that look alike and drift.

It also has an entry point the platform does not have. The observation that triggers a specification is often made during another job, so the customer's starting point may be an existing file rather than a new order. There is no path from a determination to a new service order.

## 9.2	Letterhead

254 Engineering Services 254 Engineering LLC, TBPELS Firm F-29811

Derived by registrationLine(), never typed.

## 9.3	Fixed facts, filled from the file

| Field | Held |
| --- | --- |
| Standard set | yes |
| The originating file, where the observation came from another job | no |
| Who the specification is for: insurer, lender, buyer, authority | no |
| Their requirement, verbatim, where there is one | no |

## 9.4	Body

254 ENGINEERING SERVICES 254 Engineering LLC, TBPELS Firm F-29811

Date: {{determination_date}}

{{recipient_name}} {{recipient_address}}

Re: Repair specification, {{property_address}}, {{county}} County, Texas File {{file_number}}

{{recipient_salutation}},

At your request, this firm inspected the structure at {{property_address}} in {{county}} County, Texas, on {{visit_date}}. {{evidence_count}} items of evidence were recorded and are retained in file {{file_number}}.

[ENGINEER: state the observed condition that the repairs address.] The platform will not write this. It is the engineering finding the specification rests on.

The repairs specified:

| # | Location | Work specified | Standard |
| --- | --- | --- | --- |
| 1 | {{item_location}} | {{item_work}} | {{item_standard}} |

[ENGINEER: Location, work, and material and standard, with quantities where they can be measured. That is enough for a contractor to price and for me to verify.] Location, work and standard are drafted here. A contractor must be able to price and perform from it, and an engineer must later be able to verify it was done, and those two readers want different things.

[ENGINEER: A note under the table, added below.] Where order of work matters structurally, the specification must say so. Is sequence a column, a note, or your prose?

Perform the work in the order listed unless an item says otherwise.

Photograph any work that will be covered before covering it. Verification of completed repairs relies on those photographs.

### 9.4.1	Scope and limitations

Starting draft. Bracketed items need your call.

This specification addresses the conditions documented on the date of the visit stated above. It is not a warranty or a guarantee of any kind.

This specification addresses the items listed above and no others. Conditions not listed were either not observed or are outside the scope of this engagement, and what was not accessible on the date of the visit is listed in file {{file_number}}.

This specification states the work to be done and the standard it is to meet. It is not a guarantee of the result. [ENGINEER: No outcome is claimed.]

Verification of the completed work is not part of this specification. It is a separate order and ends in a completion letter.

[ENGINEER: A specification does not expire. It states that it is based on the condition on the inspection date. A visit can be skipped where an earlier 254 job file holds the evidence and I find it still current. Foundation repair only where I accept the job at intake.]

This specification makes no prediction of remaining service life and no prediction of future movement.

The recipient decides how to use this specification, and is responsible for selecting and engaging the contractor who performs the work. This firm does not supervise construction unless separately engaged to do so. The contractor is responsible for means and methods, temporary shoring and site safety. [ENGINEER: Confirmed, with the contractor sentence added.]

### 9.4.2	Seal block

_______________________________        ____________________
Aman Dhakal, P.E.                      Date
Texas P.E. No. 143295
Engineer of Record, 254 Engineering LLC

                    [SEAL]

## 9.5	What Aman needs to decide on this line

- Whether this is the same document as the roof repair list. [ENGINEER: No.]

- The minimum content of a specified item, and how sequence is expressed. [ENGINEER: Location, work, material and standard. Sequence is a note.]

- Whether the specification claims an outcome, or only states the work. [ENGINEER: Only states the work.]

- Whether verification is included or separate. [ENGINEER: Separate.]